# Health Systems Agency of Northern Virginia

3040 Williams Drive, Suite 200

#### Fairfax, Virginia 20031

# Phone: 703-573-3100   Fax: 703-573-3101

## August 24, 2026

TO:		Board of Directors, HSANV

Interested Parties

FROM:	Dean Montgomery

SUBJECT:	Certificate of Public Need Application

Inova Fairfax Hospital, Expand Radiation Therapy Service (COPN Request VA-8894)

---------------------------------------------------------------------------------------------------------------------

## I.      Background and Summary of the Proposal

- Radiation Therapy

Radiation therapy, the exposure of tumors to ionizing radiation, is used in the treatment and management of many types of cancer. Other commonly used treatment modalities include surgery and chemotherapy (drugs). Hormone therapy and immunotherapy are used less frequently.

Radiation therapy may be used alone or in combination with one or more of the other treatments. It may be employed to cure the disease by removing cancerous tissue or as a palliative where a cure is not likely or possible. Palliative radiation therapy is usually undertaken to shrink the size of tumors and to reduce pain and other symptoms of the disease.

Exposure to high energy radiation entails risk. State-of-the art technology and sophisticated treatment planning are helpful in managing treatment induced risk. Technological advances, including more sophisticated treatment planning, have made it possible for radiation oncologists to administer more precise amounts of radiation to specific sites with reduced risk to healthy tissue.

Currently, most cancer patients given radiation therapy receive externally generated (outside the body) radiation during a series of relatively short outpatient treatment sessions. The device used most often to generate the radiation administered is a linear accelerator. It generates a beam of high-energy radiation that can be shaped, targeted, and modulated with considerable (and improving) precision.

Linear accelerators are used in conjunction with computers, CT scanners, and other diagnostic imaging equipment. Radiation dosage is based on tumor characteristics, on the nature of the treatment provided (curative or palliative), and on known or expected radiation tolerances of body tissues surrounding the target area(s). In curative therapy, patients normally receive five treatments per week (one per day) for a period of five to seven weeks. Palliative treatment usually consists of a short daily exposure for one to two weeks. With both curative and palliative treatment series there may be a second course of treatment, following an interval to assess results of the first course.

Brachytherapy is a form of radiation therapy used to treat some cancer patients. Unlike external beam radiation therapy, which usually consists of a high-energy beam of ionizing radiation generated outside the body by a linear accelerator and delivered in a series of short daily treatments (exposures to radiation), brachytherapy usually entails the placement of low dose radioactive material in or near tumors. The radioactive material (sometime referred to as seeds) irradiates the tumor as it decays, or in the case of using high dose rate “after loaders” when the radioactive material (radioisotope) is withdrawn. Tumors commonly treated with brachytherapy include prostate cancer, cervical cancer, and breast cancer.

Intra-operative radiation therapy (IORT) is a form of therapy that entails irradiating tumors during the surgical procedure that removes observable (and excisable) cancerous tissue. This permits clinicians to administer high doses of radiation to tumors directly, without exposing healthy organs and tissue to ionizing radiation. In some cases, a single dose of radiation delivered intra-operatively may substitute for most or all daily fractionated external beam treatments that would otherwise be prescribed. IORT typically involves between one and five treatments per case.

Electronic intra-operative radiation therapy is a form of brachytherapy that permits delivery of a specified dose of radiation to targeted tissue during surgery by means of a comparatively small X-ray source, rather than from a radioisotope placed in or near the tumor. There are now several FDA approved electronic IORT systems available to clinicians. These systems are used to treat selected cancer patients whose disease is likely to be responsive to the treatment. Most Northern Virginia hospital cancer treatment programs now have electronic IORT systems.

- Summary of the Proposal

Inova Fairfax Hospital (Inova Fairfax, IFH), a subsidiary of Inova Health System, seeks COPN authorization to expand its radiation therapy service, to acquire a fourth linear accelerator (LINAC). The projected capital expense is $9,557,290. Capital costs would be paid from internal Inova Health System funds. Current capacity and recent service volumes of linear accelerators in northern Virginia radiation therapy services, including Inova Fairfax Hospital, are shown in Table 1.

Inova Fairfax Hospital justifies the proposal on the grounds that:

- Use of IFH’s linear accelerators is high and demand is increasing. Recent radiation therapy service volumes have been near or above the service volume planning standard of 8,000 treatment visits per LINAC per year.

- Radiation therapy caseloads within Inova Health System radiation therapy services are such that there is no unused capacity within the system that can be reallocated or otherwise used to meet increasing demand at IFH.

- IFH has an institutional need for additional radiation therapy treatment capacity.

- Projected capital costs are within the range seen for similar projects locally and statewide.

- Adding radiation therapy capacity at IFH, to meet current and projected demand, would not affect other programs negatively.

If authorized, the project would be implemented in the summer of 2027.

II.   Discussion

- Community Need

Demand (need) for radiation therapy is a function of the incidence of cancer, the proportion of cancer patients for whom radiation therapy is clinically appropriate, the number of treatments given during a course of therapy, and the number of subsequent “follow-up” treatments that may be necessary.

Cancer incidence varies widely by age, gender and several other demographic factors. Currently, radiation therapy is thought to be an element of the treatment regimen for between 50% and 60% of cancer patients.  Most radiation therapy patients receive between 25 and 35 treatments during a course of therapy. These treatments usually are provided five per week over a period of five to seven weeks. Some patients begin radiation therapy as hospital inpatients, but most treatments are provided on an outpatient basis. Because of the large number of treatments most patients receive, because most treatments (>95%) are provided to outpatients, and because of the difficulties some patients have in traveling to receive care, convenient access is an important planning and service development consideration.

Northern Virginia now has 19 megavoltage radiation therapy units (linear accelerators), two of which are cyberknifes (Inova Fairfax Hospital and Virginia Hospital Center) that provide stereotactic radiosurgery (SRS) procedures. This equipment is currently located in nine widely distributed radiation therapy programs (Map 1). Service volumes (treatment visits) for these programs for the last decade are shown in Table 1.

Though there have been wide year-to-year variations in reported caseloads over the last decade, aggregate demand increased by only 10.3% (Table 1). The compound annual growth rate (CAGR) in treatment visits for the last ten years (2014 – 2024) was less than one percent (0.98%), less than half the population growth rate. The underlying regional use rate (treatment visits per 1,000 population) continued to decrease modestly over the decade.

Beyond demographic differences, much of this pattern is explained by falling cancer incidence rates. Aggregate (total) incidence rates have been decreasing nationwide for many years. Based on the most recent state cancer registry data, the Virginia statewide incidence rate is about 7.6% below the national rate. By comparison incidence rates in northern Virginia jurisdictions are 10.0% to 24.0% below the national rate and between 2.0% and 17.0% below the statewide Virginia rate (Table 2).

There is no reason to expect this pattern to change substantially soon. It is evident, though not easily quantifiable, that northern Virginia’s comparatively low indigenous cancer incidence and prevalence rates are reinforced by population migration and growth patterns.

Average use of northern Virginia radiation therapy services was 4,642 treatment visits per linear accelerator in 2024. This is about 58% of the nominal average treatment visits per linear accelerator (8,000 visits/accelerator) called for in the Virginia State Medical Facilities Plan (SMFP).

Given current and projected demand, it will take decades (beyond the useful life of most of the linear accelerators now in service) for average use of existing capacity to approximate the service volume planning standards specified in the Virginia SMFP. Absent unanticipated changes in treatment protocols, it is evident that no additional capacity is needed to meet aggregate regional need (expressed demand) for radiation therapy.

SMFP Planning Guidance

The Virginia State Medical Facilities Plan (SMFP) provides planning guidance for radiation therapy services and equipment. The sections covering new service development and the expansion of existing services read:

“12VAC5-230-290 - Need for new service.

A.  No new radiation therapy service should be approved unless:

- Existing radiation therapy machines located in the health planning district performed an average of 8,000 procedures per existing and approved radiation therapy machine in the relevant reporting period; and

- The new service will perform at least 5,000 procedures by the second year of operation without significantly reducing the utilization of existing providers in the health planning district.

- The number of radiation therapy machines needed in a health planning district will be determined as   follows:

Population x Cancer Incidence Rate x 60%

320

where:

- The population is projected to be at least 150,000 people three years from the current year as      reported in the most current projections of a demographic entity as determined by the commissioner;

- The cancer incidence rate as determined by data from the Statewide Cancer Registry;

- 60% is the estimated number of new cancer cases in a health planning district that are treatable with radiation therapy; and

- 320 is 100% utilization of a radiation therapy machine based upon an anticipated average of 25 procedures per case.”     Source: Virginia State Medical Facilities Plan, p. 21

12VAC5-230-300 - Expansion of service.

“Proposals to expand radiation therapy services should be approved only when all existing radiation therapy services operated by the applicant in the health planning district have performed an average of 8,000 procedures for the relevant reporting period and the proposed expansion would not significantly reduce the utilization of existing providers.”

Source: Virginia State Medical Facilities Plan, p. 22

IFH proposes a service expansion as described in Section 12VAC5-230-300 of the plan. Given historical and recent regional demand, projected demand, and substantial unused capacity within Inova Health System and elsewhere, the IFH is inconsistent with this provision.

Inova Fairfax Hospital

IFH now has three linear accelerators in general use. Radiation therapy service volumes have increased in recent years. The hospital reported 22,197 treatment visits in 2024 and 24,149 treatment visits in 2025.  IFH linear accelerators are the most heavily used LINACs in the planning region.

The reported average Inova LINAC service volume system wide was 5,229 treatment visits in 2024, about 65% of nominal capacity. Though there is substantial unused capacity in three Inova hospitals, their caseloads are not small enough to permit transfer of a LINAC to IFH. None could be relocated to Inova Fairfax without jeopardizing the contributing program, resulting is a services volume above the 8,000 treatment visits per LINAC annually. Consequently. IFH proposes to expand radiation therapy services through the addition of a fourth linear accelerator based on institution-specific need rather than on a regionwide need for additional capacity.

The Virginia State Medical Facilities Plan contains guidance in evaluating COPN projects asserting an internal or institution specific need for additional capacity. The pertinent language reads:

“12VAC5-230-80. When institutional expansion needed

A. Notwithstanding any other provisions of this chapter, the commissioner may grant approval for the expansion of services at an existing medical care facility in a health planning district with an excess supply of such services when the proposed expansion can be justified on the basis of a facility's need having exceeded its current service capacity to provide such service or on the geographic remoteness of the facility.

B. If a facility with an institutional need to expand is part of a health system, the underutilized services at other facilities within the health system should be reallocated, when appropriate, to the facility with the institutional need to expand before additional services are approved for the applicant. However, underutilized services located at a health system's geographically remote facility may be disregarded when determining institutional need for the proposed project.

C. This section is not applicable to nursing facilities pursuant to § 32.1-102.3:2 of the Code of Virginia.

D. Applicants shall not use this section to justify a need to establish new services.”

Current and projected radiation therapy service volumes at IFH qualify the hospital for consideration to add capacity under this provision. The proposal satisfies subsections 12VAC5-230-80.A and 12VAC5-230-80.B. Subsections 12VAC5-230-80.C and 12VAC5-230-80.D do not apply.

B.  Cost Considerations

The Inova Fairfax Hospital project entails a large capital outlay, $9,557,290 to add a linear accelerator. The purchase price of the linear accelerator and associated equipment is $6,045,657. Construction costs for space to accommodate the unit are expected to be $2,966,275 and an additional $545,538 for site preparation and architectural and engineering fees. All capital costs would be paid from internal Inova funds. There would be no direct borrowing or financing expense.

The project is economically viable as described. The pro forma budget for year two (2029) of operations indicates that the project is expected to be profitable. The LINAC is expected to serve an additional 234 patient “encounters” which will generate charges of $14,342,000, revenue of $3,748,000 and an operating margin (profit) of $1,014,000. These estimates equate to a charge of $13,711.28 per treatment visit, revenue of $3,583.17 per visit, and profit of $969.41 per visit. The projected return on net revenue is about 27.0%.

Operating returns and profit margins are likely to increase significantly over the useful life of the LINAC, as depreciation and amortization costs decrease, and expenses are allocated to larger service volumes. The marginal cost of providing a treatment will decrease as demand and service volumes increase.

Though relatively high, the capital cost is not disqualify the proposal if the project is necessary or otherwise warranted.

SAN

C.  Access Considerations

Radiation therapy is widely available in Northern Virginia. Map 1 shows the locations of existing radiation therapy programs. As with other major medical services, the net flow of radiation therapy patients in northern Virginia is along major transportation and trade routes, from west to east and south to north. These patterns are particularly strong for specialized health services such as cancer care.

The only healthcare facility for which there is not a pronounced west-to-east and south-to-north flow is Inova Fairfax Hospital (IFH), which is located near the center of population and serves both as a community hospital and as the regional referral center.

Inova Health System has long-standing charity care policies, including a system wide charity care agreement with the Commissioner of Health. It has demonstrated a willingness to serve radiation therapy

patients equitably, including the uninsured, the medically indigent, and Medicaid patients. Inova Fairfax Hospital adheres to these policies and practices.

III.   Conclusions and Alternatives for Agency Action

A.	Conclusions

Demand for radiation therapy in Northern Virginia is comparatively low. Service volumes, measured by the number of treatment visits recorded annually, have increased recently and are growing modestly, recently at about half the rate of population growth. Cancer incidence rates have decerased region wide over the last decade. Demand will continue to grow modestly with population growth and aging. The trends and patterns of use observed over the last decade are not likely to change soon.

There is substantial unused capacity. There are nine authorized service sites, with nineteen linear accelerators in the region. Excluding the cyberknifes at IFH and VHC, and the proton service at IFH, average use of linear accelerators was about 4,642 treatment visits per LINAC in 2024, only about 58% of the nominal planning standard. There is no regional need for additional radiation therapy programs or additional radiation therapy equipment.

With the addition of second linear accelerators at several services over the last two decades, average service volumes locally have decreased. IFH is now the only program at or approaching the Virginia SMFP service volume planning standard.

Fairfax Hospital has a substantial radiation therapy program, which has had significant growth in recent years. The recent caseload (2025) exceeds marginally (101%) the service volume planning standard of 8,000 treatment visits per LINAC annually. With recent increases, IFH has the highest treatment visit per LINAC in the region. The hospital qualifies for consideration to expand its radiation therapy treatment capacity under the institutional need provision of the plan.

The projected capital outlay is substantial but within the range seen for similar projects locally and elsewhere in Virginia.

Regional use rates, aggregate demand, and treatment visits by facility region wide indicate that adding a linear accelerator at Inova Fairfax Hospital to meet current and projected near-term demand is not likely to affect other services negatively. Demand at IFH has increased over the last decade unused capacity elsewhere notwithstanding. That pattern of demand and service use is expected to continue.

B.	 Alternatives for Agency Action

- The Health Systems Agency of Northern Virginia may recommend to the Commissioner of Health that the project be approved.

Support for the project could be based on concluding that:

- Though there is no evidence of need for additional radiation therapy capacity region wide, IFH has a substantial radiation therapy service with high use and increasing

- demand. Its recent caseload exceeds the nominal service volume standard of 8,000

treatment visits per LINAC annually. IFH qualifies for consideration to expand in accordance with the institutional need provision of the Virginia SMP.

- There is little reason to believe that expanding the IFH service to meet current and projected demand would affect the use of other services materially.

- The capital expenditure proposed, though high, is within the range seen for the project described.

- The Health Systems Agency of Northern Virginia may recommend to the Commissioner of Health that a COPN not be granted.

An unfavorable recommendation could be based on concluding that:

- There is no public regional need for additional radiation therapy services or capacity.

- There is substantial unused radiation therapy capacity in the region, much of it in Inova Health System services.

- The institution specific benefits of the project are marginal, not essential to maintain or enhance access to care.

- Given the lack of regional need for additional radiation therapy capacity, the capital expenditure proposed is not warranted.

IV.    Consistency with Required Statutory Review Considerations

- § 32.1-102.3. Of the Code of Virginia

In determining whether a public need exists for a proposed project, the following factors shall be taken into account when applicable.

- The extent to which the proposed service or facility will provide or increase access to needed services for residents of the area to be served, and the effects that the proposed service or facility will have on access to needed services in areas having distinct and unique geographic, socioeconomic, cultural, transportation, and other barriers to access to care.

There long has been, and continues to be, substantial unused radiation therapy capacity in the planning region. Northern Virginia residents have ready access to radiation therapy services. Nearly everyone is within 30 minutes of travel of more than one service.

The project is not necessary to meet projected regional demand but has aspects that would help assure continued ready access to radiation therapy services at IFH, the region’s largest program.

- The extent to which the project will meet the needs of the residents of the area to be served, as demonstrated by each of the following:

  - The level of community support for the project demonstrated by citizens, businesses, and governmental leaders representing the area to be served.

As with nearly all COPN applications, public knowledge of and support for the project is limited. Potentially affected service providers have been notified and are aware of the proposal. There is no known opposition to the project.

  - The availability of reasonable alternatives to the proposed service or facility that would meet the needs of the population in a less costly, more efficient, or more effective manner.

The practical alternative to the project is the status quo. The project is not essential to meet regional demand but has intrinsic merit as an advisable maintenance of effort endeavor. Its potential benefits are notable.

  - Any recommendation or report of the regional health planning agency regarding an application for a certificate that is required to be submitted to the Commissioner pursuant to Subsection B of § 32.1-102.6.

The Health Systems Agency of Northern Virginia (HSANV) has the application under review.

  - Any costs and benefits of the project.

Cancer diagnosis and treatment are costly. Radiation therapy costs and charges are high. Profits among service providers are high. The IFH project has merit as an incremental enhancement of its radiation therapy service.

  - The financial accessibility of the project to the residents of the area to be served, including indigent residents.

Inova Health System has long-standing charity care policies, including a system wide charity care agreement with the Commissioner of Health. It has demonstrated a willingness to serve \ radiation therapy patients equitably, including the uninsured, the medically indigent, and Medicaid patients. Inova Fairfax Hospital adheres to these policies and practices.

- The extent to which the application is consistent with the State Medical Facilities Plan.

Recent and projected linear accelerator caseloads at IFH are consistent with the planning service volume standards specified in the Virginia State Medical Facilities Plan. Recent caseloads and projected service volumes qualify the hospital for consideration to add radiation therapy capacity

under the institutional need provision (Section 12VAC5-230-80) of the SMFP, unused capacity elsewhere notwithstanding.

- The extent to which the proposed service or facility fosters institutional competition that benefits the area to be served while improving access to essential health care services for all persons in the area to be served.

Inova Fairfax Hospital is an established provider of cancer diagnosis and treatment services. It   serves a region wide population. The proposal would not introduce a new competitor. No significant change in referral patterns, market shares or prices is likely.

- The relationship of the project to the existing health care system of the area to be served, including the utilization and efficiency of existing services or facilities.

The proposal does not entail or contemplate a substantial change in the regional health care delivery system. IFH does not anticipate a significant increase in regional demand or an increase in market share. Expansion of the IFH radiation therapy service in response to increasing local demand is not likely to affect negatively demand or caseloads at other service providers.

- The feasibility of the project, including the financial benefits of the project to the applicant, the cost of construction, the availability of financial and human resources, and the cost of capital.

The IFH project entails a capital outlay of $9,557,290 to add a linear accelerator. Though it is costly, the project is financially feasible, can be readily financed with internal Inova funds and is likely to be highly profitable.

Numerous low volume radiation therapy services statewide show that economic breakeven caseload levels are small, making even relatively low volume services profitable. IFH has a full-service, high-volume program.

- The extent to which the project provides improvements or innovations in the financing and delivery of health services, as demonstrated by:

(i)  The introduction of new technology that promotes quality, cost effectiveness, or both in the delivery of health care services.

(ii)  The potential for provision of services on an outpatient basis.

(iii) Any cooperative efforts to meet regional health care needs.

(iv) At the discretion of the Commissioner, any other factors as may be appropriate.

The project does not entail new or innovative economic arrangements, financing methods or other noteworthy practices.

- In the case of a project proposed by or affecting a teaching hospital associated with a public institution of higher education or a medical school in the area to be served:

(i) The unique research, training, and clinical mission of the teaching hospital or medical school, and

(ii) Any contribution the teaching hospital or medical school may provide in the delivery, innovation, and improvement of health care for citizens of the Commonwealth, including indigent or underserved populations

This consideration is not applicable.

Most Northern Virginia cancer diagnosis and treatment services offer several forms of radiation therapy, including stereotactic radiosurgery (SRS), low dose rate (LDR) brachytherapy, and electronic high dose rate (HDR) brachytherapy. Proton therapy is available at Inova Fairfax Hospital, and at two other sites in the Washington metropolitan area, Georgetown University Hospital and Sibley Memorial Hospital.

This assumption is problematic, particularly as it applies to Northern Virginia (and Virginia). The local (Northern Virginia) percentage is lower, estimated to be less than 45% of new cancer cases. Hence, the Virginia State Medical Facilities Plan (SMFP) need determination formula overestimates need (demand) for radiation therapy in the region.

Northern Virginia is a net importer of cancer treatment patients. Expressed demand (treatment visits at local services) would be lower were that not the case. On average, those moving into the region are younger than the local population and have lower cancer incidence and prevalence rates.

Cyberknifes are linear accelerators and can be used to provide standard treatment procedures. The cyberknifes at Inova Fairfax Hospital and at Virginia Hospital Center provide a form of stereotactic radiation therapy, usually referred to as stereotactic radiosurgery, and are used to treat a subset of the hospitals’ radiation therapy patients.

The specialized accelerators are reported to have high use.